Integration into a single EPC Monitoring stack

ePDG monitoring is fully integrated into overall packet core monitoring:

The NOC operator sees all EPC components (DPI, SMF, PCEF, FastPCRF, ePDG) in a single Grafana interface, with a single alarm system and notification routing through one Alertmanager.